The authors express their sincere thanks and appreciation to the editor and the reviewers for providing their thought provoking suggestions and comments on the paper for improving its quality and acceptability. Our response to individual reviewers is detailed below.

|  | Editor's Comment | Authors' Reply |
| --- | --- | --- |
|  | The authors should further clarify the reviewer’s comments and suggestions. | All concerns/comments/suggestions of the reviewers have been addressed in the revised manuscript. Our response to individual points is detailed below. |

Reviewers' Comments:

| I | Reviewer: 1 | Authors’ Reply |
| --- | --- | --- |
|  | 1. No further comments. | Authors thank the reviewer. |
| II. | Reviewer: 2 |  |
|  | No further comments. | Authors thank the reviewer. |
| III. | Reviewer: 3 |  |
|  | Although the authors have upgraded the paper to clarify the questions by the reviewers, the following points are still unclear. (1) In the paper, the authors use potential energy function without definitions, and also introduce different approximations of CUEPs such as CUEP of equation (3), CUEP by BCU method, etc. For example, in step 4 in section III.B, CUEP must be defined by using equation number. Is that given by equation (3) and (6)? In step 5, the authors must define the potential energy function. Is it the energy function for multi-machine system or for two machine equivalents? These issues must be clarified. | A) Any approximation in the CUEP? It may be clarified that CUEP used in the paper is the correct or the relevant UEP for a particular fault, no approximation has been used. As there are many difficulties with applying BCU in real time, the proposed method uses a simplified way with prior information about the group of generators or the MOD. Equation numbers have changed, Equation (3) and (6) have become Equation (2) and (5). Equation (2) was written to explain that if the MOD is known, the CUEP can be calculated from equation (2). However, this is not in COI reference frame and therefore the procedure given in Sec-IIB is followed to calculate the correct CUEP. Correct CUEP is calculated from a load flow like minimization with initial values of angles obtained from equation (6). It has been clarified in Sec-IIA and also step 4 of Sec IV. B) Definition of Energy Function and Potential Energy Function- Energy function and potential function has been described in the revised paper, as given below- "Energy function for power system transient stability studies is well established [5, 14] and used for contingency ranking and other transient stability studies. It describes the total system transient energy for the post disturbance system. Vωi,θi=VKE+VPE =0.5 Meqωeq2-{i=1mPiθi-θis+i=1m-1j=i+1m[Cijcosθij-cosθijs+Dijθi-θis+θj-θjsθij-θijs(sinθij-sinθijs)]} (1) where, ωi=speed of ith generator, Meq= moment of inertia of two machine equivalent, ωeq= speed of two machine equivalent, E=internal emf, Pi=Pmi-Ei2Gii, θs=post fault stable equilibrium point, m=number of generators, Cij=EiEjBij, Dij=EiEjGij. The energy function consists of four terms- a) 0.5 Meqωeq2: total corrected kinetic energy of the generators. b) i=1mPiθi-θis: total potential energy of the generators. c) i=1m-1j=i+1mCijcosθij-cosθijs: stored magnetic in all branches d) i=1m-1j=i+1mDijθi-θis+θj-θjsθij-θijs(sinθij-sinθijs): approximate dissipated energy of all branches. All these energy terms are deviation from steady state values and calculated in COI reference frame. the first term is the kinetic energy and depends on only generator speeds. Last three terms together form the potential energy of the system which depends only on generator angles." C) Energy Function for Multi-machine or Two machine equivalent? Energy function used in this paper is for multi-machine system. As the correct MOD is known, the kinetic energy responsible for system separation can be used instead of total kinetic energy. This kinetic energy is called "corrected kinetic energy". In two machine equivalent, equal area criterion is used (static extended equal area criterion or dynamic extended equal area criterion), in this paper it has not been used. |
|  | (2) It is known that CCT estimated using the energy function at CUEP of (3) sometimes includes large errors. If the authors use it, some comments should be added. | In general error in CCT estimates using TEF is below 5%. As pointed out in [26], the BCU method may converge to a wrong CUEP in certain extraordinary situations like faults in highly power deficit area etc. However, the BCU method is used here to get the approximate CCT offline, to be further validated by time domain simulation (Section II-C of revised paper). As the correct MOD is identified offline and this technique is valid for power deficit cases also, the method is expected to give a good estimate of the CCT in the critical cases as well. Another source of CCT calculation error is the consideration of the total system kinetic energy instead of the kinetic energy responsible for system separation only. To eliminate this error, the corrected kinetic energy has been used in this paper. One more reason behind the slight difference between CCT obtained from TEF and time-domain simulation (TDS) is that approximate modeling of the power system. The authors in [35], have shown that with a simplified exciter model, the TEF can give a good estimate of the actual CCT of a power system with for higher order generator models and fast acting exciters. Average error in total 6 cases in estimated CCT was 0.0092 second [35]. Finally, the authors agree with the reviewer that the TEF (at least in its present form) may not always be as accurate as TDS. |
|  | (3) The authors rely on the following equation: (dVcl＝Vcr－Vcl) in section III.B.b with the statement of “If the energy of the system at fault clearing instant (Vcl) is less than the energy at the CUEP (Vcr), then dVcl is positive and the system will remain stable.” In this statement, “the energy at the CUEP (Vcr)” should be “the potential energy at the CUEP (VPEcr).” In this case, positive energy margin (dVcl＝VPEcr－Vcl >0) is the stability condition as the authors state in the paper. (4) The authors use the energy margin (dVcl＝VPEcr－Vcl >0) for evaluating CCT and for stabilizing control as well. The statement of “the energy margin (V(t)-Vcr)” should be (Vcr -V(t)) or (VPEcr – V(t))?. | The authors agree with the reviewer that critical energy or the energy at the CUEP is the potential energy at the CUEP as it is assumed that if the system reaches to the CUEP for a critical fault, kinetic energy becomes zero (as it is an equilibrium point). Therefore potential energy and total energy at the CUEP are equal. However, the authors have followed the established practice of terming this as critical energy, not the potential energy at the CUEP [24]. The authors agree that VPEcr = Vcr, hence any of the two can be used. As kinetic energy at the CUEP is zero, (Vcr -V(t)) and (VPEcr – V(t)) are equal and any of the two can be used. |
|  | (5) There are no descriptions about how to evaluate V(t) above. In theory, V(t)=VPE(t)+KE. The authors must define the function forms of V(t). | Authors agree that description on TEF given in this paper, is very short. As the technique is well established and sufficient literature is available, relevant references have been given in the paper. Expression for V(ωi,θi) has been given in equation (1). Each variable has been defined after the equation. Time is not explicitly represented in the energy function which is represented as a function of ωi andθi, which are the values of speed and angles of ith generator at a certain instant t. Therefore, the value of function V represents the transient energy of the system at that instant. Vωi,θi=VKE+VPE =0.5 Meqωeq2-{i=1mPiθi-θis+i=1m-1j=i+1m[Cijcosθij-cosθijs+Dijθi-θis+θj-θjsθij-θijs(sinθij-sinθijs)]} Detail description on calculation of energy function can be found in [24], Chapter 6 (Computational aspects of the transient energy function method for the classical generator model) and chapter 8 (Modeling improvements in the TEF method). Considering the length of this paper, the authors could not include all the computational details in this paper. |
| IV. | Reviewer: 4 |  |
|  | The responses provided to the reviewer's concerns should be included in the paper as well. | Authors thank the reviewer. As the length of the paper has already become 11 pages, authors regret for not being able to include some of the interesting and very useful discussions. |
| V. | Reviewer: 5 |  |
|  | The revised give much more information on the proposed energy function based method for transient stability prediction and control. The paper presents some interesting ideas, but I have the following comments: | Authors thank the reviewer for the appreciation. The comments given by the reviewer in the previous version regarding accuracy issues, inspired the authors to do detailed study on accuracy issues with TEF (with classical model, detailed model with exciter for different communication delay in WAMS based transient stability control) which will be covered in our next work which is in its completion stage. |
|  | Although authors claim the proposed method is do not suffer from the drawbacks of machine learning based approaches, I do not see a clear fundamental difference. In machine learning methods, information provided by large number of examples are retained in different ways, for ex. as weights of a trained ANN classifier, etc. In this approach example data is kept as a look up table. The solution is as good as the examples provided in both cases. | The authors agree partly with the reviewer that the concept of using the Normalized Kinetic Energy is similar to using predictors in other machine learning strategies. However, rather than relying on it solely to achieve the paper’s objectives, the normalized kinetic energy is used as an aid to reduce computational burden by minimizing the search set for the MODs. Further, the following points are also submitted for consideration:- - There is usually no way to verify the outcome of a machine learning technique. Thus, a conservative approach is usually adopted, wherein the scope of the tool is limited to the cases seen during the offline training phase. In this paper, the final selection of MOD is done using the normalized potential energy margin index calculated online on receipt of the disturbed system measurements. - As it is practically impossible to generate offline data for every operating condition, a few operating conditions, fault types, and durations are considered for the offline training phase. Therefore, most of the published machine learning literature focus on the prediction of stability status rather than fault severity (how much unstable) due to computational burden. In this paper, as the post-fault measurements are used to compute stability margin, the impact of operating condition, fault duration, location, types, resistances etc. are inherently taken into account. Authors agree that machine learning techniques also have certain advantages, especially in case of extremely big and complex systems. With ordinary desktop PCs and small power system sizes, the computation time for this technique is adequate for real-time applications. As system performance improves with newer computational technologies, the energy functions may be calculated for bigger systems in real time. For still bigger systems, there will be no option left except machine learning techniques. |
|  | It is not clear what type of generator models are used for simulation based validation. Have the higher order generator models been used for system simulations, although the stability assessment based of TEF assumes simplified models? This is critical information needed to assess the robustness of the method. | In this paper, the authors used classical models for both simulation and energy function calculation. It is clarified in the introduction section, "generator models used for simulation as well as energy function calculation, are classical models. However the method is also applicable to 2-axis model with exciter". A natural extension of this work in order to make it more realistic is its application to systems simulating detailed machine and controller models. The authors are currently working on this, and will report their results soon. The MOD technique is also valid for the 2-axis generator model with exciter. The key difference between the application of TEF to classical models versus detailed models is that the transient induced emfs replace the internal emf in the expression for the energy function. Unlike the internal emf in the classical model, the transient induced emfs are not constant. Therefore, an accurate energy function computation would involve regularly updating these values while computing the energy margins. This may pose a serious computational burden on the proposed technique, and the authors suggest use of the approximations proposed in [35] to overcome the computational burden while retaining some of the accuracy of the energy function calculation. Notably, the transient induced emfs may be approximated as the average between their values at fault clearing and the time of the potential energy peak. With the suggested modifications to order to calculate the transient induced emf, the computational burden now can arise from the need to update the transient induced emf with its value at the peak of the potential energy of critically stable trajectory. This may be alleviated to some extent by using pre-calculated values offline for the different fault locations. It is the opinion of the authors that the computational burden will remain the same in the online phase of the proposed technique, when compared to the classical model representation of the TEF. How to include detailed model with exciter in the proposed method with sufficient accuracy and manageable computation time, have been given below- A. TEF for detailed model with exciter- Energy function with detailed generator model with exciter has been given below- Vw,θ=0.5Meqωeq2-i=1nPmi-αiiGiiθi-θis+i=1n-1j=i+1nBijαij-cosθij+cosθijs-βijBijsinθij-sinθijs+i=1n-1j=i+1n[Gijαijθi+θj-θis-θjsθij-θijssinθij-sinθijs+ Gijβijθi+θj-θis-θjsθij-θijscosθij-cosθijs] (1) Except α, β, G, B, rest of the terms are there in the energy function of the classical machine model, and defined in the paper. αij=Edi'Edj'+Eqi'Eqj', βij=Edi'Eqj'-Eqi'Edj', G, B are real and imaginary part of the reduced admittance matrix. B. Exciter effect on Ed' and Eq' Due to exciter control action (and also armature reaction), Edi'and Eqi' change after fault clearing. Edi'=0.5(Edi.clearing'+Edi.peak') Eqi'=0.5(Eqi.clearing'+Eqi.peak') Values of the Edi'and Eqi' at the peak of a critically stable trajectory can be calculated using a simpler exciter model as given in [35], or from a time domain simulation of a critically cleared fault. As generators nearer to the fault experience the exciter effect prominently and the effect is less dependent on operating condition [35], it can be calculated offline for different fault locations and stored in a look-up table similar to the normalized kinetic energy in the proposed method. C. Computational burden with detailed generator model and exciter Suppose, X1=-cosθij+cosθijs X2=sinθij-sinθijs X3=θi+θj-θis-θjsθij-θijs Then energy function becomes- Vw,θ=0.5Meqωeq2-i=1nPmi-αiiGiiθi-θis+i=1n-1j=i+1nBijαij.X1-βijBijX2+i=1n-1j=i+1n[Gijαij.X3.X2+ GijβijX3-X1] (2) For the energy function using classical model, (X1, X2, X3) have to be calculated. As the calculations in equation (2) above are simple arithmetic, computational burden depends mostly on the number of inner loops and the number of times (Number of generators in this case) it needs to be run. As the number of loops in the computations remains same and (X1, X2, X3) are also calculated for classical model, computational burden will remain almost same for detailed model. D. Impact of Exciter and Detailed Model on Accuracy of Energy Function- Use of classical model neglects the change in internal voltage due to exciter control action and also the effect of armature reaction. The TEF with classical model is more likely to produce pessimistic results for shorter fault duration and optimistic results for higher fault duration. Test Results With Detailed Machine Models (Without Exciter)- The authors tested the accuracy of TEF with detailed model without exciter. Preliminary results for two cases (inter area instability and plant mode instability) for the New England system are as follows :- Fault Location; Mode of separation; CCT with detailed model (time domain simulation) (s); CCT (TEF) (s). Classical Model; Detailed Model. 29; Plant mode; 0.11; 0.09; 0.1. 15; Inter area; 0.152; 0.166; 0.161. Clearly, it is more accurate to use the detailed model formulation for the TEF technique. Test Results With Detailed Machine Models (With Exciter)- The impact of exciters on the accuracy of the TEF method, was studied in [35], and a brief summary of the results (on a different system) using average values of Edi'and Eqi' is as follows :- Number of faults analyzed; Average Error between CCT (s) obtained from TEF and time domain simulation. 6; 0.0092 s. It can be seen that average values of Eq' and Ed' can be used with sufficient accuracy and manageable computational burden. The above discussion is summarized in the Future Work section of the revised manuscript. |
|  | Why it is necessary to replace single circuit lines in the 39 bus system with double circuit lines? What prevents the prediction of transient stability of the system with the original configuration? | In some cases, removal of the line in original test system causes islanding or post fault steady state instability. Single lines were replaced with double lines so that one circuit can be removed after a line fault. |
|  | No results are provided to verify the accuracy of online estimated CUEP, in comparison to that obtained with time domain simulation based approach (where accurate higher order generator models with exciters are used for the simulation). | The reviewer has asked an important question. This method doesn't change anything in the energy function, but simplify the process of calculating the CUEP with offline stored data, so that the method can be applied online. Therefore accuracy issues with this method are same as the accuracy with original TEF method with relevant CUEP. The basic assumption in the TEF method is that critically cleared post fault trajectory will pass through the CUEP (hence speed and kinetic energy at that point=0). This never happens in practical systems. But early investigations showed that the critically cleared post fault trajectory pass through nearby regions of the CUEP and speed of the generators (at least the generators with advanced angles) becomes close to zero. Therefore critical energy calculated at the CUEP becomes almost equal to the energy at the potential energy peak obtained from critically cleared post fault trajectory. As replied above, the authors are currently working on accuracy issues of TEF with classical and detailed model for different communication latencies, and intend to report their results soon. An important observation regarding this question, the CUEP used in TEF technique are closer with the CUEP obtained from simulation in normal cases (stability analysis without shedding). But when very high amount of shedding is done in case of plant mode instability, accuracy of the CUEP reduces. Critical energy deviates from the critical energy calculated with the CUEP obtained from simulation. Inclusion of all these details like accuracy of TEF, how to detect wrong results and how to calculate energy value in those critical cases is beyond the scope of the current work. The CUEP calculated in this method is the same with the CUEP obtained from BCU. Accuracy of the CUEP in comparison with the CUEP obtained from simulation has been compared in [35]. Number of fault cases; Average error in generator angles at the peak point; Average error in CCT. 5; 23 deg; 0.0092 s. |
|  | The revised paper is very long; 11 pages is significantly longer than the normal length of 8 pages. | The authors agree that the paper is already overlong. Every attempt has been made to be brief while incorporating all the suggestions made by the various reviewers. |